## Slide 1: 1st Test Case for Internal Validation
SHIMMER WP4 Update

## Slide 2: Case Study Presentation Topology
 | Entry Node | Nodes: 1, 12
 | Junction Node | Nodes: 4, 5, 8
 | Exit Node | Nodes: 2, 3, 6, 7, 9, 10, 11, 13, 14, 15
 | Compressor | Pipe: 16 Nodes: 14 - 15

## Slide 3: Case Study Presentation Profiles
Chart: Consumption profile [kg/s]
1 | -75 | -74.375 | -73.75 | -73.125 | -72.5 | -71.875 | -71.25 | -71.875 | -72.5 | -73.125 | -73.75 | -74.375 | -75 | -77.5 | -80 | -82.5 | -85 | -87.5 | -90 | -87.5 | -85 | -82.5 | -80 | -77.5 | -75
2 | 20 | 19.1667 | 18.3333 | 17.5 | 16.6667 | 15.8333 | 15 | 16.6667 | 18.3333 | 20 | 21.6667 | 23.3333 | 25 | 23.3333 | 21.6667 | 20 | 18.3333 | 16.6667 | 15 | 16.6667 | 18.3333 | 20 | 21.6667 | 23.3333 | 25
6 | 20 | 19.3333 | 18.6667 | 18 | 17.3333 | 16.6667 | 16 | 16.6667 | 17.3333 | 18 | 18.6667 | 19.3333 | 20 | 19.3333 | 18.6667 | 18 | 17.3333 | 16.6667 | 16 | 16.6667 | 17.3333 | 18 | 18.6667 | 19.3333 | 20
9 | 50 | 52.0833 | 54.1667 | 56.25 | 58.3333 | 60.4167 | 62.5 | 58.75 | 55 | 51.25 | 47.5 | 43.75 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 41.6667 | 43.3333 | 45 | 46.6667 | 48.3333 | 50
12 | -40 | -38.6667 | -37.3333 | -36 | -34.6667 | -33.3333 | -32 | -33.3333 | -34.6667 | -36 | -37.3333 | -38.6667 | -40 | -41.3333 | -42.6667 | -44 | -45.3333 | -46.6667 | -48 | -48.3333 | -48.6667 | -49 | -49.3333 | -49.6667 | -50
13 | 10 | 9.6667 | 9.3333 | 9 | 8.6667 | 8.3333 | 8 | 8.3333 | 8.6667 | 9 | 9.3333 | 9.6667 | 10 | 9.8333 | 9.6667 | 9.5 | 9.3333 | 9.1667 | 9 | 9.5833 | 10.1667 | 10.75 | 11.3333 | 11.9167 | 12.5
Chart: Pressure Profile [bar]
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | 70 | 69.4167 | 68.8333 | 68.25 | 67.6667 | 67.0833 | 66.5 | 67.0833 | 67.6667 | 68.25 | 68.8333 | 69.4167 | 70 | 72.3333 | 74.6667 | 77 | 79.3333 | 81.6667 | 84 | 81.6667 | 79.3333 | 77 | 74.6667 | 72.3333 | 70
12 | 70 | 67.6667 | 65.3333 | 63 | 60.6667 | 58.3333 | 56 | 58.3333 | 60.6667 | 63 | 65.3333 | 67.6667 | 70 | 72.3333 | 74.6667 | 77 | 79.3333 | 81.6667 | 84 | 84.5833 | 85.1667 | 85.75 | 86.3333 | 86.9167 | 87.5

## Slide 4: Remarks General
Pressure set points and pressure guess are given in [bar]
  Matlab code converts [bar] in [Pa]
No compressor control mode switch
  Compressor control mode is given as input and never changed
  For example, if the compressor is regulated as Outlet Pressure, it cannot be changed to Power Driver

## Slide 5: Remarks Nodal Boundary Condition Check
No Boundary Condition Check
Node 1 becomes an Entry
With Boundary Condition Check
Node 1 is “Closed”
Chart: Nodal Flow Rate [kg/s]
1 | -75 | -30.8332 | -6.5394 | 6.2608 | 10.7781 | 11.6809 | 11.4043 | -87.4188 | -114.5219 | -130.154 | -140.7339 | -148.2463 | -153.6497 | -239.3046 | -278.576 | -306.1542 | -327.3695 | -344.3984 | -358.3629 | -173.9153 | -35.4101 | 116.1351 | 173.072 | 200.5822 | 216.7128
12 | -40 | -38.6667 | -37.3333 | -36 | -34.6667 | -33.3333 | -32 | -33.3333 | -34.6667 | -36 | -37.3333 | -38.6667 | -40 | -41.3333 | -42.6667 | -44 | -45.3333 | -46.6667 | -48 | -48.3333 | -48.6667 | -49 | -49.3333 | -49.6667 | -50
Chart: Pipe Flow Rate [kg/s]
1 - Inlet from node 1 | 75 | 36.3622 | 12.0633 | -0.74206 | -5.2644 | -6.1724 | -5.9009 | 81.9102 | 109.0082 | 124.6353 | 135.21 | 142.7174 | 148.1157 | 217.0886 | 256.2815 | 283.7827 | 304.9224 | 321.8774 | 335.7696 | 196.4363 | 57.8572 | -93.7636 | -150.7775 | -178.3662 | -194.5767
10 - Inlet from node 12 | 40 | 40.0401 | 40.0688 | 39.8884 | 39.427 | 38.7085 | 37.7956 | 36.4528 | 35.4957 | 35.0401 | 34.9924 | 35.2615 | 35.7721 | 35.8183 | 35.6419 | 35.4398 | 35.3096 | 35.2935 | 35.4048 | 36.5848 | 39.51 | 44.5443 | 48.6582 | 51.851 | 54.341
16 - Compressor | 9.603 | 9.584 | 9.5419 | 9.4842 | 9.4188 | 9.3501 | 9.2797 | 9.2551 | 9.2581 | 9.2799 | 9.3152 | 9.3608 | 9.4142 | 9.502 | 9.6253 | 9.7786 | 9.9566 | 10.1549 | 10.3699 | 10.5439 | 10.6318 | 10.585 | 10.4654 | 10.3012 | 10.1069
Chart: Nodal Flow Rate [kg/s]
1 | -75 | -31.7464 | -7.7353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | -40 | -32.2006 | -39.2978 | -40.7568 | -42.1409 | -43.4392 | -44.6653 | -45.8296 | -46.9313 | -47.9732 | -48.9606 | -49.8987 | -50.7926 | -51.6237 | -52.3884 | -53.0884 | -53.7272 | -54.3085 | -54.8354 | -55.3961 | -55.9992 | -56.643 | -57.3248 | -58.0418 | -58.7909
Chart: Pipe Flow Rate [kg/s]
1 - Inlet from node 1 | 75 | 37.2754 | 13.2592 | 4.9862 | 4.5791 | 4.4474 | 4.3481 | 4.4013 | 4.371 | 4.3071 | 4.232 | 4.153 | 4.0724 | 3.7356 | 3.4628 | 3.2192 | 2.9856 | 2.7569 | 2.5319 | 2.7532 | 3.0019 | 3.2554 | 3.5095 | 3.7619 | 4.0113
10 - Inlet from node 12 | 40 | 37.9982 | 39.2978 | 40.7568 | 42.1409 | 43.4392 | 44.6653 | 45.8296 | 46.9313 | 47.9732 | 48.9606 | 49.8987 | 50.7926 | 51.6237 | 52.3884 | 53.0884 | 53.7272 | 54.3085 | 54.8354 | 55.3961 | 55.9992 | 56.643 | 57.3248 | 58.0418 | 58.7909
16 - Compressor | 9.603 | 9.5828 | 9.541 | 9.4878 | 9.4317 | 9.3753 | 9.3191 | 9.2612 | 9.2029 | 9.1452 | 9.0884 | 9.0326 | 8.978 | 8.927 | 8.8795 | 8.835 | 8.7935 | 8.755 | 8.7193 | 8.6828 | 8.644 | 8.6023 | 8.5573 | 8.5088 | 8.457
Once the node is “Closed” it cannot be “Opened” again in the Matlab Version

## Slide 6: Results Power Driver = 2 MW
Chart: Pressure at Compressor Inlet and Outlet [bar]
14 | 28.3907 | 28.2998 | 28.0983 | 27.8235 | 27.5173 | 27.1991 | 26.8775 | 26.556 | 26.2393 | 25.9294 | 25.6265 | 25.3306 | 25.0411 | 24.765 | 24.5036 | 24.2576 | 24.0277 | 23.8141 | 23.6166 | 23.4169 | 23.2067 | 22.9819 | 22.7408 | 22.4827 | 22.2073
15 | 92.6066 | 92.4904 | 92.2007 | 91.7635 | 91.2377 | 90.6674 | 90.0774 | 89.502 | 88.9445 | 88.4023 | 87.8727 | 87.354 | 86.8446 | 86.3411 | 85.8534 | 85.3886 | 84.9503 | 84.5404 | 84.1594 | 83.7771 | 83.3764 | 82.9486 | 82.4892 | 81.996 | 81.4682
Chart: Pipe Flow Rate [kg/s]
16 - Compressor | 9.603 | 9.5828 | 9.541 | 9.4878 | 9.4317 | 9.3753 | 9.3191 | 9.2612 | 9.2029 | 9.1452 | 9.0884 | 9.0326 | 8.978 | 8.927 | 8.8795 | 8.835 | 8.7935 | 8.755 | 8.7193 | 8.6828 | 8.644 | 8.6023 | 8.5573 | 8.5088 | 8.457

## Slide 7: Results Compressor Outlet Pressure = 80 bar
Chart: Pipe Flow Rate [kg/s]
16 - Compressor | 6.3512 | 6.3975 | 6.4887 | 6.6031 | 6.7226 | 6.8403 | 6.9544 | 7.0492 | 7.135 | 7.2159 | 7.2935 | 7.3685 | 7.4413 | 7.5169 | 7.5888 | 7.6554 | 7.7166 | 7.7725 | 7.8235 | 7.8802 | 7.9419 | 8.0081 | 8.0784 | 8.1524 | 8.2299
Chart: Pressure at Compressor Inlet and Outlet [bar]
14 | 55.9394 | 55.6551 | 54.9905 | 54.0399 | 52.934 | 51.7484 | 50.5207 | 49.303 | 48.1027 | 46.915 | 45.7344 | 44.5561 | 43.3766 | 42.1948 | 41.0254 | 39.8815 | 38.7723 | 37.704 | 36.6811 | 35.6388 | 34.5366 | 33.3471 | 32.0504 | 30.6298 | 29.0693
15 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80

## Slide 8: Results Compressor Inlet Pressure = 50 bar
Chart: Pipe Flow Rate [kg/s]
16 - Compressor | 7.3985 | 7.3421 | 7.2424 | 7.1302 | 7.0209 | 6.914 | 6.8085 | 6.701 | 6.5935 | 6.4868 | 6.3812 | 6.2766 | 6.1729 | 6.0768 | 5.9865 | 5.9016 | 5.8221 | 5.748 | 5.6793 | 5.6034 | 5.5196 | 5.4278 | 5.3275 | 5.2184 | 5.1002
Chart: Pressure at Compressor Inlet and Outlet [bar]
14 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
15 | 83.688 | 83.4841 | 83.0171 | 82.3627 | 81.6188 | 80.8393 | 80.0491 | 79.2858 | 78.5507 | 77.8376 | 77.1412 | 76.4584 | 75.787 | 75.1264 | 74.489 | 73.8837 | 73.3147 | 72.784 | 72.292 | 71.7834 | 71.2362 | 70.6422 | 69.998 | 69.3023 | 68.5545

## Slide 9: Results Beta = 1.8
Chart: Pipe Flow Rate [kg/s]
16 - Compressor | 7.7879 | 7.7602 | 7.7114 | 7.6571 | 7.6047 | 7.5535 | 7.5032 | 7.4475 | 7.3911 | 7.3352 | 7.2805 | 7.2269 | 7.1745 | 7.1288 | 7.0866 | 7.0473 | 7.0106 | 6.9767 | 6.9455 | 6.913 | 6.8782 | 6.8407 | 6.8003 | 6.7569 | 6.7105
Chart: Pressure at Compressor Inlet and Outlet [bar]
14 | 47.31 | 47.2316 | 47.0486 | 46.7876 | 46.4865 | 46.1679 | 45.8431 | 45.5275 | 45.223 | 44.9278 | 44.6404 | 44.3594 | 44.0839 | 43.8138 | 43.5535 | 43.3062 | 43.0738 | 42.8569 | 42.6559 | 42.4514 | 42.2346 | 42.0015 | 41.7505 | 41.4808 | 41.1922
15 | 85.158 | 85.0168 | 84.6875 | 84.2177 | 83.6757 | 83.1021 | 82.5175 | 81.9495 | 81.4013 | 80.8701 | 80.3527 | 79.8469 | 79.351 | 78.8649 | 78.3963 | 77.9512 | 77.5328 | 77.1424 | 76.7805 | 76.4125 | 76.0223 | 75.6028 | 75.1509 | 74.6654 | 74.146

## Slide 10: Results Compressor Flow Rate = 5 kg/s
Chart: Pipe Flow Rate [kg/s]
16 - Compressor | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Chart: Pressure at Compressor Inlet and Outlet [bar]
14 | 61.5244 | 61.3477 | 60.9663 | 60.4681 | 59.935 | 59.3981 | 58.8663 | 58.3324 | 57.7999 | 57.2724 | 56.7521 | 56.2397 | 55.7356 | 55.2577 | 54.8087 | 54.3883 | 53.9958 | 53.6308 | 53.293 | 52.9491 | 52.5842 | 52.1915 | 51.7676 | 51.3114 | 50.8222
15 | 75.8949 | 75.7889 | 75.5404 | 75.182 | 74.7655 | 74.3253 | 73.8782 | 73.4723 | 73.1009 | 72.7511 | 72.4147 | 72.0874 | 71.7666 | 71.4364 | 71.1092 | 70.7953 | 70.4994 | 70.2233 | 69.9677 | 69.7003 | 69.4106 | 69.0963 | 68.757 | 68.393 | 68.0049